## Academic
Exhibit 3
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
1 | C9407R-96U-BNDL-A | Catalyst 9400 Series 7 slot, Sup, 2xC9400-LC-48U, DNA-A LIC | --- | 31 | 16400 |  | 1 | 16400 | 0 | 16400
1.0.1 | CON-SSSNT-C9407R9A | SOLN SUPP 8X5XNBD Catalyst 9400 Series 7 slot, Sup, 2xC940 | 36 | N/A | 3813 |  | 1 | 3813 | 0 | 3813
1.1 | C9400-NW-A | Cisco Catalyst 9400 Network Advantage License | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.2 | C9400-S-BLANK | Cisco Catalyst 9400 Series Slot Blank Cover | --- | 21 | 0 |  | 6 | 0 | 0 | 0
1.3 | C9400-PWR-BLANK | Cisco Catalyst 9400 Series Power Supply Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.4 | S9400UK9-169 | UNIVERSAL | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.5 | C9400-PWR-3200AC | Cisco Catalyst 9400 Series 3200W AC Power Supply | --- | 28 | 2040 |  | 4 | 2040 | 0 | 8160
1.6 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
1.7 | C1A1TCAT94001 | DNA Premier Term, C9400 | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.7.0.1 | C1A1TCAT94001-3Y | DNA Premier Term C9400 3Y - DNA, 100 ISE PLS, 100 SWATCH | 36 | N/A | 16250 |  | 1 | 16250 | 0 | 16250
1.8 | C1-C9400-DNAA-T | Cisco ONE C9400 DNA Advantage Term licenses | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.8.0.1 | C1-C9400-TRK-3Y | Cisco ONE Term SKU 3Y | 36 | N/A | 0 |  | 1 | 0 | 0 | 0
1.9 | C1-SWATCH-T | Cisco ONE StealthWatch License Term - 1 Flow License | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.9.0.1 | C1-SWATCH-TRK-3Y | Cisco ONE Subscription SWATCH SKU 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.1 | C1-ISE-PLS-T | Cisco ONE ISE PLUS License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.10.0.1 | C1-ISE-PLS-TRK-3Y | Cisco ONE Subscription SKU ISE Plus 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.11 | C1-ISE-BASE-T | Cisco ONE ISE BASE License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.11.0.1 | C1-ISE-BASE-TRK-3Y | Cisco ONE Subscription ISE BASE 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.12 | C9400-SUP-1XL-B | Cisco Catalyst 9400 Series Sup-1XL Bundle Select Option | --- | 21 | 5100 |  | 1 | 5100 | 0 | 5100
1.13 | C9400-SUP-1XL | Cisco Catalyst 9400 Series Supervisor 1XL Module | --- | 35 | 0 |  | 1 | 0 | 0 | 0
1.14 | C9400-SSD-240GB | Cisco Catalyst 9400 Series 240GB M2 SATA memory (Supervisor) | --- | 21 | 2040 |  | 1 | 2040 | 0 | 2040
1.15 | C9400-LC-48U-B | Cisco Catalyst 9400 Series 2xC9400-LC-48U for Bundle Select | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.16 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.17 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.18 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
1.19 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 2 | 18485 | 0 | 36970
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 10 | 153 | 0 | 1530
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 12 | 80 | 0 | 960
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 1 | 795 | 0 | 795
9.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
10 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 2 | 520 | 0 | 1040
10.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 97715
FOB Point: None | [7 empty] | Service Total : |  | 4152
[8 empty] | Subscription Total |  | 16250
[8 empty] | Total Price: |  | 118117
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Main
Exhibit 3
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
1 | C9410R-96U-BNDL-A | Catalyst 9400 Series 10 slot,Sup, 2xC9400-LC-48U, DNA-A LIC | --- | 38 | 29400 |  | 1 | 29400 | 0 | 29400
1.0.1 | CON-SSSNT-C9410R9A | SOLN SUPP 8X5XNBD Catalyst 9400 Series 10 slot,Sup, 2xC940 | 36 | N/A | 6600 |  | 1 | 6600 | 0 | 6600
1.1 | C9400-NW-A | Cisco Catalyst 9400 Network Advantage License | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.2 | C9400-S-BLANK | Cisco Catalyst 9400 Series Slot Blank Cover | --- | 21 | 0 |  | 2 | 0 | 0 | 0
1.3 | C9400-PWR-BLANK | Cisco Catalyst 9400 Series Power Supply Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.4 | S9400UK9-169 | UNIVERSAL | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.5 | C9400-PWR-3200AC | Cisco Catalyst 9400 Series 3200W AC Power Supply | --- | 28 | 2040 |  | 4 | 2040 | 0 | 8160
1.6 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
1.7 | C1A1TCAT94001 | DNA Premier Term, C9400 | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.7.0.1 | C1A1TCAT94001-3Y | DNA Premier Term C9400 3Y - DNA, 100 ISE PLS, 100 SWATCH | 36 | N/A | 16250 |  | 1 | 16250 | 0 | 16250
1.8 | C1-C9400-DNAA-T | Cisco ONE C9400 DNA Advantage Term licenses | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.8.0.1 | C1-C9400-TRK-3Y | Cisco ONE Term SKU 3Y | 36 | N/A | 0 |  | 1 | 0 | 0 | 0
1.9 | C1-SWATCH-T | Cisco ONE StealthWatch License Term - 1 Flow License | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.9.0.1 | C1-SWATCH-TRK-3Y | Cisco ONE Subscription SWATCH SKU 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.1 | C1-ISE-PLS-T | Cisco ONE ISE PLUS License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.10.0.1 | C1-ISE-PLS-TRK-3Y | Cisco ONE Subscription SKU ISE Plus 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.11 | C1-ISE-BASE-T | Cisco ONE ISE BASE License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.11.0.1 | C1-ISE-BASE-TRK-3Y | Cisco ONE Subscription ISE BASE 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.12 | C9400-SUP-1XL-B | Cisco Catalyst 9400 Series Sup-1XL Bundle Select Option | --- | 21 | 5100 |  | 1 | 5100 | 0 | 5100
1.13 | C9400-SUP-1XL | Cisco Catalyst 9400 Series Supervisor 1XL Module | --- | 35 | 0 |  | 1 | 0 | 0 | 0
1.14 | C9400-SSD-240GB | Cisco Catalyst 9400 Series 240GB M2 SATA memory (Supervisor) | --- | 21 | 2040 |  | 1 | 2040 | 0 | 2040
1.15 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 9180 |  | 1 | 9180 | 0 | 9180
1.16 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 9180 |  | 1 | 9180 | 0 | 9180
1.17 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 9180 |  | 1 | 9180 | 0 | 9180
1.18 | C9400-LC-48U-B | Cisco Catalyst 9400 Series 2xC9400-LC-48U for Bundle Select | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.19 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.2 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.21 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
1.22 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 1 | 18485 | 0 | 18485
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 10 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 20 | 153 | 0 | 3060
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 20 | 80 | 0 | 1600
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 12 | 345 | 0 | 4140
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 1 | 795 | 0 | 795
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 5 | 520 | 0 | 2600
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 127640
FOB Point: None | [7 empty] | Service Total : |  | 6939
[8 empty] | Subscription Total |  | 16250
[8 empty] | Total Price: |  | 150829
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Workforce
Exhibit 3
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
1 | C9407R-96U-BNDL-A | Catalyst 9400 Series 7 slot, Sup, 2xC9400-LC-48U, DNA-A LIC | --- | 31 | 16400 |  | 1 | 16400 | 0 | 16400
1.0.1 | CON-SSSNT-C9407R9A | SOLN SUPP 8X5XNBD Catalyst 9400 Series 7 slot, Sup, 2xC940 | 36 | N/A | 3813 |  | 1 | 3813 | 0 | 3813
1.1 | C9400-NW-A | Cisco Catalyst 9400 Network Advantage License | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.2 | C9400-S-BLANK | Cisco Catalyst 9400 Series Slot Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.3 | C9400-PWR-BLANK | Cisco Catalyst 9400 Series Power Supply Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.4 | S9400UK9-169 | UNIVERSAL | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.5 | C9400-PWR-3200AC | Cisco Catalyst 9400 Series 3200W AC Power Supply | --- | 28 | 2040 |  | 4 | 2040 | 0 | 8160
1.6 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
1.7 | C1A1TCAT94001 | DNA Premier Term, C9400 | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.7.0.1 | C1A1TCAT94001-3Y | DNA Premier Term C9400 3Y - DNA, 100 ISE PLS, 100 SWATCH | 36 | N/A | 16250 |  | 1 | 16250 | 0 | 16250
1.8 | C1-C9400-DNAA-T | Cisco ONE C9400 DNA Advantage Term licenses | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.8.0.1 | C1-C9400-TRK-3Y | Cisco ONE Term SKU 3Y | 36 | N/A | 0 |  | 1 | 0 | 0 | 0
1.9 | C1-SWATCH-T | Cisco ONE StealthWatch License Term - 1 Flow License | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.9.0.1 | C1-SWATCH-TRK-3Y | Cisco ONE Subscription SWATCH SKU 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.1 | C1-ISE-PLS-T | Cisco ONE ISE PLUS License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.10.0.1 | C1-ISE-PLS-TRK-3Y | Cisco ONE Subscription SKU ISE Plus 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.11 | C1-ISE-BASE-T | Cisco ONE ISE BASE License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.11.0.1 | C1-ISE-BASE-TRK-3Y | Cisco ONE Subscription ISE BASE 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.12 | C9400-SUP-1XL-B | Cisco Catalyst 9400 Series Sup-1XL Bundle Select Option | --- | 21 | 5100 |  | 1 | 5100 | 0 | 5100
1.13 | C9400-SUP-1XL | Cisco Catalyst 9400 Series Supervisor 1XL Module | --- | 35 | 0 |  | 1 | 0 | 0 | 0
1.14 | C9400-SSD-240GB | Cisco Catalyst 9400 Series 240GB M2 SATA memory (Supervisor) | --- | 21 | 2040 |  | 1 | 2040 | 0 | 2040
1.15 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 28 | 0 |  | 1 | 0 | 0 | 0
1.16 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 28 | 0 |  | 1 | 0 | 0 | 0
1.17 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 2 | 18485 | 0 | 36970
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 15 | 153 | 0 | 2295
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 15 | 80 | 0 | 1200
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 9 | 345 | 0 | 3105
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 3 | 795 | 0 | 2385
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 3 | 75 | 0 | 225
11 | CP-8800-A-KEM | 8800 Series Audio KEM, 28 Button | --- | N/A | 520 |  | 2 | 520 | 0 | 1040
11.0.1 | CON-SNT-CP880KMA | SNTC-8X5XNBD 8800 Series Audio KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
12 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 6 | 520 | 0 | 3120
12.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 95035
FOB Point: None | [7 empty] | Service Total : |  | 4302
[8 empty] | Subscription Total |  | 16250
[8 empty] | Total Price: |  | 115587
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Automotive
Exhibit 3
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
1 | C9407R-96U-BNDL-A | Catalyst 9400 Series 7 slot, Sup, 2xC9400-LC-48U, DNA-A LIC | --- | 31 | 16400 |  | 1 | 16400 | 0 | 16400
1.0.1 | CON-SSSNT-C9407R9A | SOLN SUPP 8X5XNBD Catalyst 9400 Series 7 slot, Sup, 2xC940 | 36 | N/A | 3813 |  | 1 | 3813 | 0 | 3813
1.1 | C9400-NW-A | Cisco Catalyst 9400 Network Advantage License | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.2 | C9400-S-BLANK | Cisco Catalyst 9400 Series Slot Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.3 | C9400-PWR-BLANK | Cisco Catalyst 9400 Series Power Supply Blank Cover | --- | 21 | 0 |  | 4 | 0 | 0 | 0
1.4 | S9400UK9-169 | UNIVERSAL | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.5 | C9400-PWR-3200AC | Cisco Catalyst 9400 Series 3200W AC Power Supply | --- | 28 | 2040 |  | 4 | 2040 | 0 | 8160
1.6 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
1.7 | C1A1TCAT94001 | DNA Premier Term, C9400 | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.7.0.1 | C1A1TCAT94001-3Y | DNA Premier Term C9400 3Y - DNA, 100 ISE PLS, 100 SWATCH | 36 | N/A | 16250 |  | 1 | 16250 | 0 | 16250
1.8 | C1-C9400-DNAA-T | Cisco ONE C9400 DNA Advantage Term licenses | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.8.0.1 | C1-C9400-TRK-3Y | Cisco ONE Term SKU 3Y | 36 | N/A | 0 |  | 1 | 0 | 0 | 0
1.9 | C1-SWATCH-T | Cisco ONE StealthWatch License Term - 1 Flow License | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.9.0.1 | C1-SWATCH-TRK-3Y | Cisco ONE Subscription SWATCH SKU 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.1 | C1-ISE-PLS-T | Cisco ONE ISE PLUS License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.10.0.1 | C1-ISE-PLS-TRK-3Y | Cisco ONE Subscription SKU ISE Plus 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.11 | C1-ISE-BASE-T | Cisco ONE ISE BASE License Term | --- | 21 | 0 |  | 100 | 0 | 0 | 0
1.11.0.1 | C1-ISE-BASE-TRK-3Y | Cisco ONE Subscription ISE BASE 3Y | 36 | N/A | 0 |  | 100 | 0 | 0 | 0
1.12 | C9400-SUP-1XL-B | Cisco Catalyst 9400 Series Sup-1XL Bundle Select Option | --- | 21 | 5100 |  | 1 | 5100 | 0 | 5100
1.13 | C9400-SUP-1XL | Cisco Catalyst 9400 Series Supervisor 1XL Module | --- | 35 | 0 |  | 1 | 0 | 0 | 0
1.14 | C9400-SSD-240GB | Cisco Catalyst 9400 Series 240GB M2 SATA memory (Supervisor) | --- | 21 | 2040 |  | 1 | 2040 | 0 | 2040
1.15 | C9400-LC-48U-B | Cisco Catalyst 9400 Series 2xC9400-LC-48U for Bundle Select | --- | 21 | 0 |  | 1 | 0 | 0 | 0
1.16 | C9400-LC-48U | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 0 |  | 1 | 0 | 0 | 0
1.17 | C9400-LC-48U | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 0 |  | 1 | 0 | 0 | 0
1.18 | C9400-LC-48U | Cisco Catalyst 9400 Series 48-Port UPOE 10/100/1000 (RJ-45) | --- | 21 | 9180 |  | 1 | 9180 | 0 | 9180
1.19 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
1.2 | C9400-LC-48UX | Cisco Catalyst 9400 Series 48Port UPOE w/ 24p mGig 24p RJ-45 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 2 | 18485 | 0 | 36970
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 12 | 153 | 0 | 1836
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 15 | 80 | 0 | 1200
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 9 | 345 | 0 | 3105
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 1 | 795 | 0 | 795
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 2 | 520 | 0 | 1040
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 110546
FOB Point: None | [7 empty] | Service Total : |  | 4152
[8 empty] | Subscription Total |  | 16250
[8 empty] | Total Price: |  | 130948
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Central Plant
Exhibit 3
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C3850-48U-E | Cisco Catalyst 3850 48 Port UPOE IP Services | --- | 28 | 23180 |  | 1 | 23180 | 0 | 23180
2.0.1 | CON-SMB3-WS3848UE | SMB SA 8X5XNBD 3 YR Cisco Catalyst 3850 | 36 | N/A | 2334 |  | 1 | 2334 | 0 | 2334
2.1 | S3850UK9-36E | CAT3850 Universal k9 image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.2 | C3850-NM-2-10G | Cisco Catalyst 3850 2 x 10GE Network Module | --- | 28 | 2550 |  | 1 | 2550 | 0 | 2550
2.3 | PWR-C1-715WAC/2 | 715W AC Config 1 Secondary Power Supply | --- | 14 | 1250 |  | 1 | 1250 | 0 | 1250
2.4 | CAB-TA-NA | North America AC Type A Power Cable | --- | 14 | 0 |  | 2 | 0 | 0 | 0
2.5 | C3850-STACK-NONE | No Stack Cable Selected | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.6 | C3850-SPWR-NONE | No Stack Power Cable Selected | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.7 | PWR-C1-1100WAC | 1100W AC Config 1 Power Supply | --- | 14 | 0 |  | 1 | 0 | 0 | 0
2.8 | C3850-DNA-A-48 | C3850 DNA Advantage, 48-port Term licenses | --- | 3 | 0 |  | 1 | 0 | 0 | 0
2.8.0.1 | C3850-DNA-A-48-3Y | C3850 DNA Advantage, 48-port, 3 Year Term license | 36 | N/A | 3770 |  | 1 | 3770 | 0 | 3770
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 0 | 18485 | 0 | 0
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 0 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 0 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 0 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 0 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 1 | 153 | 0 | 153
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 1 | 80 | 0 | 80
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 0 | 1595 | 0 | 0
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 0 | 264 | 0 | 0
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 0 | 125 | 0 | 0
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 0 | 345 | 0 | 0
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 0 | 795 | 0 | 0
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 0 | 75 | 0 | 0
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 0 | 520 | 0 | 0
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 27213
FOB Point: None | [7 empty] | Service Total : |  | 2334
[8 empty] | Subscription Total |  | 3770
[8 empty] | Total Price: |  | 33317
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Cables & Misc
Exhibit 3
PROJECT: | NE-North Forest Campus | [6 empty] | MDF | Academic | Automotive | PwP | WorkForce | Total
| Coop. Contract Number: | [5 empty] | CABLING | 8539.58 | 5415.58 | 8268.06 | 2053.34 | 5884.3 | 30160.86
[7 empty] | MISC | 3809.97 | 4536.47 | 4985.02 | 607.5 | 5818.82 | 19757.78
| (Miscellaneous stuff on bottom) | [6 empty] | 12349.55 | 9952.05 | 13253.08 | 2660.84 | 11703.12 | 49918.64
Part Number | Description | Length | Unit | Total Qty | Discount | Unit Price | Unit Net Price | QTY | QTY | QTY | QTY | QTY | Extended Price
| CABLE MISCELLANEOUS | [6 empty] | 332.78 | 24 | 24 | 12 | 24 | 416.78
HLT3I-X0 | Panduit Tak-Ty Hook and loop cable ties, 12" length, HLT3I-X0, roll of 10 | 12" | Roll | 0 | 0% | 12.17 | 12.17 | 0 | 0 | 0 | 0 | 0 | 0
43108-8 | Leviton Hook and loop cable ties, black, 8" length, 25/roll | 8" | Roll | 12 | 0% | 12 | 12 | 5 | 2 | 2 | 1 | 2 | 144
S100X150VAC | Panduit Lase/Injet, Self-Laminating Label, 1.00" W x 1.50" L, Clear/White, 2500 labels/package | n/a | Cassette | 1 | 0% | 267 | 267 | 1 | 0 | 0 | 0 | 0 | 267
NWSLC-3Y | Panduit Orange cable identification sleeve for 3mm Simplex cable, 1" Length, Pack of 100 | n/a | Cassette | 1 | 0% | 5.78 | 5.78 | 1 | 0 | 0 | 0 | 0 | 5.78
| CABLES | [6 empty] | 6973.14 | 4939.66 | 7792.14 | 1589.42 | 5408.38 | 26702.74
CPCSSX2-0ZF005 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 5 ft | Each | 0 | 0% | 10.86 | 10.86 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF007 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 7 ft | Each | 84 | 0% | 11.84 | 11.84 | 24 | 20 | 25 | 0 | 15 | 994.56
CPCSSX2-0ZF010 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 10 ft | Each | 84 | 0% | 13.28 | 13.28 | 24 | 20 | 25 | 0 | 15 | 1115.52
CPCSSX2-0ZF015 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 15 ft | Each | 0 | 0% | 15.72 | 15.72 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF020 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 20 ft | Each | 0 | 0% | 18.12 | 18.12 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF025 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 25 ft | Each | 0 | 0% | 20.53 | 20.53 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF030 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 30 ft | Each | 0 | 0% | 22.95 | 22.95 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF035 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 35 ft | Each | 0 | 0% | 25.37 | 25.37 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F003 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 3 ft | Each | 0 | 0% | 7.79 | 7.79 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F004 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 4 ft | Each | 497 | 0% | 8.18 | 8.18 | 96 | 86 | 164 | 48 | 103 | 4065.46
CPC3312-03F005 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 5 ft | Each | 497 | 0% | 8.55 | 8.55 | 96 | 86 | 164 | 48 | 103 | 4249.35
CPC3312-03F006 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 6 ft | Each | 497 | 0% | 8.93 | 8.93 | 96 | 86 | 164 | 48 | 103 | 4438.21
CPC3312-03F007 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 7 ft | Each | 545 | 0% | 9.3 | 9.3 | 192 | 86 | 164 | 0 | 103 | 5068.5
CPC3312-03F010 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 10 ft | Each | 0 | 0% | 10.44 | 10.44 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F015 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 15 ft | Each | 60 | 0% | 12.3 | 12.3 | 30 | 10 | 10 | 0 | 10 | 738
CPC3312-03F020 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 20 ft | Each | 60 | 0% | 14.2 | 14.2 | 30 | 10 | 10 | 0 | 10 | 852
CPC3312-03F025 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 25 ft | Each | 50 | 0% | 16.06 | 16.06 | 20 | 10 | 10 | 0 | 10 | 803
CPC3312-03F030 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 30 ft | Each | 0 | 0% | 17.95 | 17.95 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F035 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 35 ft | Each | 0 | 0% | 19.83 | 19.83 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F050 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 50 ft | Each | 0 | 0% | 25.46 | 25.46 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F003 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 3 ft | Each | 0 | 0% | 7.79 | 7.79 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F004 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 4 ft | Each | 0 | 0% | 8.18 | 8.18 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F005 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 5 ft | Each | 0 | 0% | 8.55 | 8.55 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F006 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 6 ft | Each | 0 | 0% | 8.93 | 8.93 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F007 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 7 ft | Each | 86 | 0% | 9.3 | 9.3 | 20 | 20 | 20 | 6 | 20 | 799.8
CPC3312-07F010 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 10 ft | Each | 86 | 0% | 10.44 | 10.44 | 20 | 20 | 20 | 6 | 20 | 897.84
CPC3312-07F015 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 15 ft | Each | 86 | 0% | 12.3 | 12.3 | 20 | 20 | 20 | 6 | 20 | 1057.8
CPC3312-07F020 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 20 ft | Each | 86 | 0% | 14.2 | 14.2 | 20 | 20 | 20 | 6 | 20 | 1221.2
CPC3312-07F025 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 25 ft | Each | 25 | 0% | 16.06 | 16.06 | 5 | 5 | 5 | 5 | 5 | 401.5
CPC3312-07F030 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 30 ft | Each | 0 | 0% | 17.95 | 17.95 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F035 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 35 ft | Each | 0 | 0% | 19.83 | 19.83 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F050 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 50 ft | Each | 0 | 0% | 25.46 | 25.46 | 0 | 0 | 0 | 0 | 0 | 0
| LC - SC | [6 empty] | 543.64 | 150.44 | 150.44 | 150.44 | 150.44 | 2719.6
FEXLCSC42-MXF003 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 3 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEXLCSC42-MXF005 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 5 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEXLCSC42-MXF007 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 7 ft | Each | 20 | 0% | 39.91 | 39.91 | 4 | 4 | 4 | 4 | 4 | 798.2
FEXLCSC42-MXF010 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF015 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 4 | 0% | 46.75 | 46.75 | 4 | 0 | 0 | 0 | 0 | 187
FEXLCSC42-MXF020 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 2 | 0% | 49.95 | 49.95 | 2 | 0 | 0 | 0 | 0 | 99.9
FEXLCSC42-MXF025 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 2 | 0% | 53.15 | 53.15 | 2 | 0 | 0 | 0 | 0 | 106.3
FEXLCSC42-MXF030 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 56.34 | 56.34 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF035 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 59.53 | 59.53 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF040 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 62.73 | 62.73 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF045 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 65.92 | 65.92 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF050 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 69.12 | 69.12 | 0 | 0 | 0 | 0 | 0 | 0
| LC - LC | [6 empty] | 538.98 | 150.44 | 150.44 | 150.44 | 150.44 | 2714.94
FEXLCLC42-MXF003 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 3 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEXLCLC42-MXF005 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 5 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEXLCLC42-MXF007 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 7 ft | Each | 20 | 0% | 39.91 | 39.91 | 4 | 4 | 4 | 4 | 4 | 798.2
FEXLCLC42-MXF010 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF015 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 4 | 0% | 46.17 | 46.17 | 4 | 0 | 0 | 0 | 0 | 184.68
FEXLCLC42-MXF020 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 2 | 0% | 49.37 | 49.37 | 2 | 0 | 0 | 0 | 0 | 98.74
FEXLCLC42-MXF025 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 2 | 0% | 52.56 | 52.56 | 2 | 0 | 0 | 0 | 0 | 105.12
FEXLCLC42-MXF030 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 55.72 | 55.72 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF035 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 58.95 | 58.95 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF040 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 62.15 | 62.15 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF045 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 65.35 | 65.35 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF050 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 68.54 | 68.54 | 0 | 0 | 0 | 0 | 0 | 0
| SC - SC | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF010 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 44.14 | 44.14 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF015 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 0 | 0% | 47.34 | 47.34 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF020 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 0 | 0% | 50.53 | 50.53 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF025 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 0 | 0% | 53.74 | 53.74 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF030 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 56.93 | 56.93 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF035 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 60.13 | 60.13 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF040 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 63.32 | 63.32 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF045 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 66.52 | 66.52 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF050 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 69.7 | 69.7 | 0 | 0 | 0 | 0 | 0 | 0
| LC - SC | [6 empty] | 151.04 | 151.04 | 151.04 | 151.04 | 151.04 | 2283.4
FEWLCSC42-JXF003 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 3 ft | Each | 20 | 0% | 37.76 | 37.76 | 4 | 4 | 4 | 4 | 4 | 755.2
FEWLCSC42-JXF005 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 5 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEWLCSC42-JXF007 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 7 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEWLCSC42-JXF010 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 10 ft | Each | 0 | 0% | 39.91 | 39.91 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF015 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 15 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF020 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 20 ft | Each | 0 | 0% | 40.66 | 40.66 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF025 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 25 ft | Each | 0 | 0% | 42.12 | 42.12 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF030 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 30 ft | Each | 0 | 0% | 43.57 | 43.57 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF035 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 35 ft | Each | 0 | 0% | 45.03 | 45.03 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF040 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 40 ft | Each | 0 | 0% | 46.47 | 46.47 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF045 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 45 ft | Each | 0 | 0% | 47.93 | 47.93 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF050 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 50 ft | Each | 0 | 0% | 49.38 | 49.38 | 0 | 0 | 0 | 0 | 0 | 0
| ANALOG | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
N154-050-C3 | TRIPPLITE - Cat3 25-Pair Telco Cable (RJ21 M to Open End), 50-ft. | 50 ft | Each | 0 | 0% | 81 | 81 | 0 | 0 | 0 | 0 | 0 | 0
N154-100-C3 | TRIPPLITE - Cat3 25-Pair Telco Cable (RJ21 M to Open End), 100-ft. | 100 ft | Each | 0 | 0% | 145.78 | 145.78 | 0 | 0 | 0 | 0 | 0 | 0
P110KB1005Y | Panduit PAN-PUNCH 110 - punch-down block | n/a | Each | 0 | 0% | 43.23 | 43.23 | 0 | 0 | 0 | 0 | 0 | 0
25-3-PP-5-180 | ALLEN TEL 25-Pair Cable Assembly Two Plugs 180 style - 5FT | 50 ft | Each | 0 | 0% | 19.73 | 19.73 | 0 | 0 | 0 | 0 | 0 | 0
S700A110-B1-50 | Siemon's 50-pair pre-wired S110 block with legs | n/a | Each | 0 | 0% | 125.28 | 125.28 | 0 | 0 | 0 | 0 | 0 | 0
ELN25T-0025-MM | Blackbox CAT3 Telco Connector Cable (UTP), PVC (25-3-PP-25-GY) | 25 ft | Each | 0 | 0% | 49.78 | 49.78 | 0 | 0 | 0 | 0 | 0 | 0
ELN25TP-0025-MM | Blackbox CAT3 Telco Connector Cable (UTP), PLENUM (25PP25PL3) | 25 ft | Each | 0 | 0% | 77.06 | 77.06 | 0 | 0 | 0 | 0 | 0 | 0
ELN25T-0050-MM | Blackbox CAT3 Telco Connector Cable (UTP), PVC (25-3-PP-50-GY) | 50 ft | Each | 0 | 0% | 91 | 91 | 0 | 0 | 0 | 0 | 0 | 0
ELN25TP-0050-MM | Blackbox CAT3 Telco Connector Cable (UTP), PLENUM (25PP50PL3) | 50 ft | Each | 0 | 0% | 126.95 | 126.95 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-03 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 03 ft | Each | 0 | 0% | 5.39 | 5.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-10 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 10 ft | Each | 0 | 0% | 8.39 | 8.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 15 ft | Each | 0 | 0% | 10.39 | 10.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-20 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 20 ft | Each | 0 | 0% | 15.39 | 15.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-U1-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO RJ11 | 15 ft | Each | 0 | 0% | 9.5 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-U4-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO RJ45 | 15 ft | Each | 0 | 0% | 9.07 | 9.07 | 0 | 0 | 0 | 0 | 0 | 0
02970 | Cables2Go, RJ11 Modular Telephone Cable, RJ11 to RJ11, 7ft | 7ft | Each | 0 | 0% | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0
09590 | Cables2Go, RJ11 Modular Telephone Cable, RJ11 to RJ11, 14ft | 14ft | Each | 0 | 0% | 1.8 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0
EYN7001BL-1000 | Blackbox Cross-Connect Wire, 1 Pair, White/Blue w Blue - 1000ft | 1000 ft | Each | 0 | 0% | 40.56 | 40.56 | 0 | 0 | 0 | 0 | 0 | 0
| ALL CABLING TOTALS | [6 empty] | 8539.58 | 5415.58 | 8268.06 | 2053.34 | 5884.3 | 34837.46
| MISCELLANEOUS | [6 empty] | MDF | Academic | Automotive | PwP | WorkForce
| AP BRACKET | [6 empty] | 0 | 0 | 363.55 | 0 | 1154.85 | 1518.4
TW-HWM-C-CVR | Ventev TerraWave Horizontal Right Angle Wall Mount with Lid | n/a | Each | 15 | 0% | 76.99 | 76.99 | 0 | 0 | 0 | 0 | 15 | 1154.85
1045-00 | Oberon 1045-00 above ceiling AP mount | n/a | Each | 5 | 0% | 72.71 | 72.71 | 0 | 0 | 5 | 0 | 0 | 363.55
| VARIPHY LICENSING | [6 empty] | 0 | 127.5 | 212.5 | 8.5 | 255 | 603.5
INST-CDR-1 | Variphy Insight CDR - Call History, Call Accounting, etc | n/a | Each | 71 | 0% | 8.5 | 8.5 | 0 | 15 | 25 | 1 | 30 | 603.5
| APC - UNINTERRUPTABLE POWER SUPPLY | [6 empty] | 3809.97 | 4408.97 | 4408.97 | 599 | 4408.97 | 19115.8
SUA5000RMT5U | APC Smart-UPS 5000VA 208V Rackmount/Tower |  |  | 4 | 0% | 3150 | 3150 | 1 | 1 | 1 | 0 | 1 | 12600
SMX1500RM2U | APC Smart-UPS X 1500VA Rack/Tower LCD 120V |  |  | 1 | 0% | 599 | 599 | 0 | 0 | 0 | 1 | 0 | 599
AP9626 | APC Step-Down Transformer RM 2U 208V IN 120V OUT |  |  | 3 | 0% | 599 | 599 | 0 | 1 | 1 | 0 | 1 | 1797
AP9563 | APC Rack PDU, Basic, 1U, 20A, 120V, (10)5-20; 5-20P |  |  | 4 | 0% | 159.99 | 159.99 | 1 | 1 | 1 | 0 | 1 | 639.96
AP9564 | APC Rack PDU, Basic, 1U, 20A, 120V, (10)5-20; L5-20P |  |  | 4 | 0% | 159.99 | 159.99 | 1 | 1 | 1 | 0 | 1 | 639.96
AP9559 | APC Rack PDU, Basic, 1U, 16A, 208 & 230V, (10)C13 & (2)C19 |  |  | 4 | 0% | 209.99 | 209.99 | 1 | 1 | 1 | 0 | 1 | 839.96
AP9570 | Rack PDU Basic 1U 30A 208V Four C19s APC Basic Rack PDU input: 208V |  |  | 8 | 0% | 249.99 | 249.99 | 2 | 2 | 2 | 0 | 2 | 1999.92
AP9877 | APC Power Cord C19 to C20 |  |  | 0 | 0% | 29.99 | 29.99 | 0 | 0 | 0 | 0 | 0 | 0
| ALL MISCELLANEOUS TOTALS | [6 empty] | 3809.97 | 4536.47 | 4985.02 | 607.5 | 5818.82 | 21237.7